## Part 1 Viva Questions
IPEM Part 1 Viva Questions
This file contains a list of typical Part 1 Viva Questions collated from www.medicalphysicist.gilberdyke.net (last updated in 2007) and www.medicalphysicist.co.uk (last updated in 2010). The purpose of this file is to bring the questions together into one handy resource with duplicate questions removed. Not all questions in each section were asked to the same trainees, the viva is only meant to be half an hour after all! Clicking on the titles below will jump to the appropriate section of questions. In each section there are also quick links to topics within each discipline.
Clinical Engineering | Physiological Measurement
Diagnostic Radiology | Radiation Protection
ICT | Radiotherapy
MRI | Ultrasound
Nuclear Medicine | Moderators Questions
v 1.0 September 2011

## Clinical Engineering
Clinical Engineering
Assistive Technology |  | Assistive Technology
Medical Electronics & Instruments
1 | What is a reflex? | Medical Engineering Design
2 | How might you make use of a reflex in FES, and where would you position the electrodes for this? | Front Page
3 | How does spasticity arise?
4 | How might a reflex affect use of switches for EAT/ wheelchair controls?
5 | What other factors would you consider in positioning switches?
6 | On what grounds would you select an environmental controller e.g. Prog vs IR5-SP, Companion etc?
7 | Which medical conditions commonly have problems accessing these types of controller?
8 | What legislation/standards are relevant to assistive technology?
9 | Is there anything you’d like to tell me about in your portfolio?
Medical Electronics & Instruments |  | Assistive Technology
Medical Electronics & Instruments
1 | Did you enjoy your time at the hospital? | Medical Engineering Design
2 | Thinking about safety, what sort of things are you looking for in patient-connected equipment? | Front Page
3 | What happens when you apply a current to the body? Does frequency have an effect? What happens at higher frequencies?
4 | If you are designing an instrument, what are the important electrical issues that you must consider?
(a) | Good insulation? Exposed metal work?
(b) | Leakage current? Where does it come from? How (by what path) can leakage current get to earth? What are the values for earth leakage?
(c) | Isolation barriers? What types are there? How do you get the signal across the isolation barrier? How does the isolation circuit work?
(d) | What do you look for when testing a piece of equipment? What measurements would you make?
5 | How did you go about fault-finding in your project?
6 | Op amps:
(a) | What are they?
(b) | Where are they used?
(c) | What are their ideal properties?
(d) | What does the Common Mode Rejection Ratio tell you?
(e) | How do you measure CMRR?
(f) | What sort of value of CMRR would you expect for a good op amp?
7 | Draw a circuit for an inverting amplifier with a gain of 10.
8 | Biological amplifier:
(a) | What is a biological amplifier?
(b) | Why is a differential amplifier used?
(c) | What sources of interference are there? What sources of noise are there? Would any piece of electrical equipment affect it? How could you measure how big the effect is?
(d) | What parameters could you measure to assess how good a bioelectric amplifier is?
9 | Filters:
(a) | What’s the application of high pass filters?
(b) | What’s a band pass filter?
(c) | What’s an active filter?
10 | Have you come across EMC?
11 | ECG Monitor:
(a) | What is it?
(b) | What does it do?
(c) | What are its safety features?
(d) | What problems might you encounter with skin impedance with an ECG monitoring system?
(e) | What level of voltage does an ECG monitoring system measure?
(f) | How does it filter the signal?
(g) | What are the accepted ratios between the P and QRS waveforms when looking at ECG waveforms?
(h) | Why did your device connections go into the ECG monitor?
(i) | Do ECG monitors usually have filtering in them? What for?
(j) | Are you expecting to get many publications out of this?
12 | If you use an oscilloscope probe to make measurements in a circuit, how will the probe affect the circuit? Should the probe have a high or low impedance?
13 | What’s so important about the 3dB point?
14 | Why did you use a JFET op-amp?
15 | What are the limitations and disadvantages of making the circuit on veroboard?
16 | Could there be any operator error in use? What process did you go through to decide that your supervisor should be the only person to use the equipment? If other people used the equipment, could what they were wearing affect the measurement?
Medical Engineering Design |  | Assistive Technology
Medical Electronics & Instruments
1 | What is the Medical Device Directive - what are its major points? | Medical Engineering Design
2 | Can any CE device be used with a patient, or are special rules required? | Front Page
3 | Tell me about the differences between brittle and ductile materials.
4 | What is important about fatigue? How does it effect devices?
5 | How do you calculate moments of inertia of materials?
6 | If you were given stress strain graphs for two materials, how would you assess their relevant strengths and toughness? Would you require any other information about the materials before deciding upon a certain design plan?
7 | What is the need for tolerancing in diagrams?
8 | Why might drawings not be toleranced specifically?
9 | What do you know about first and third angle projections? How would you know what projection drawings are to?

## Diagnostic Radiology
Diagnostic Radiology
Legislation |  | Legislation
Installation
1 | What are, the main pieces of legislation relevant to diagnostic radiology (IRR1999, IR(ME)R2000). Also know about ICRP60 and PM77/HSG226. | Imaging
2 | Can you give a brief summary of IRR99/IRMER? | QA
3 | Who do they apply to/concern? | Dose Calculation
4 | What other guidance do we use for radiation protection? | Project Related questions
5 | What documents would you expect to find in a Radiology Physics department? | Front Page
6 | If you went to survey a dental X-ray set, which document would be the most useful?
7 | What would you need to consider if you wanted to conduct a project which involved exposing volunteers to ionising radiation?
Installation
1 | If we imagine installing a new radiology room, what would be involved in the planning stage?
2 | What would happen next? (critical exam)
3 | Whose responsibility is this?
4 | What would be necessary after this and why? (Acceptance and Commissioning)
5 | Who would be responsible for this and who would be present?
6 | What tests would be carried out?
Imaging |  | Legislation
Installation
1 | Did you use mostly digital or film-screen systems during your placement? | Imaging
2 | What are the advantages of digital systems over film-screen systems? What are the disadvantages? | QA
3 | Why is it important to test an AEC for digital systems and how do we perform an AEC test? | Dose Calculation
4 | What does DICOM stand for? What is a DICOM image, what information is contained within the image header? | Project Related questions
5 | Describe the main applications of each of the main imaging modalities. | Front Page
6 | Give ballpark figures for the resolution of each of the main imaging modalities.
7 | How are CT images reconstructed?
8 | How would you explain the effect of the width of a smoothing kernel in terms of spatial frequency? i.e. would a wide smoothing kernel effect the low or high spatial frequencies in an image?
9 | Why do higher kV images have more noise?
10 | What do you mean by statistical fluctuations in an image?
11 | What factors affect the resolution of an x-ray image?
QA |  | Legislation
| Beam Filtration | Installation
1 | How would you find what filtration was in the beam? | Imaging
2 | How do we measure kV? | QA
3 | How does the KVp divider work? | Dose Calculation
4 | Where would you look up the filtration and what data would you need to know? | Project Related questions
5 | How much filtration should there be in the beam? | Front Page
6 | How much filtration should there be for a dental x-ray set?
7 | Where would you look this up?
8 | What is the filtration for?
9 | Why do we add copper filters to an x-ray beam?
10 | What is the effect of adding copper filters on the x-ray image quality?
Mammography
1 | What physical tests should we perform during the QA of a mammography set?
2 | Why is the displayed breast thickness important?
3 | Why do we use compression for mammography?
4 | How do can measure focal spot size in mammography?
5 | Which method of measuring focal spot size did you prefer?
Fluoroscopy
1 | How would you test a fluoroscopy unit?
2 | Automatic Brightness Control:
(a) | What is it?
(b) | Why is it needed?
(c) | How does it change with varying patient thickness?
(d) | How would you test this?
3 | What is a ballpark figure for a typical II input dose rate?
4 | Describe the Leeds test object TO10? What do we use it for?
5 | How can we analyse the results from the TO10 test object? Can you sketch the plots we would produce?
6 | Describe test objects used for Fluoroscopy?
7 | What do they measure?
8 | Are the same exposure conditions used for the previous mentioned 18FG tests?
Dose Calculation |  | Legislation
1 | What does a DAP meter measure? | Installation
2 | What are the units of radiation output? | Imaging
3 | How would you calculate the dose? | QA
4 | What parameters would you need to calculate the dose to a patient? | Dose Calculation
5 | What would X-Dose give you in addition to whole-body dose? | Project Related questions
6 | Why do we perform dose audits? | Front Page
Project Related questions
1 | In your portfolio you include a plot of scatter fraction with angle, did you test this relationship during your placement?
2 | Did you use the relationship between scatter fraction and angle to perform any calculations?
3 | How useful do you think the software you used was? Discuss the errors of the software (project work)
4 | Give a brief explanation of your project into dose reduction methods in paediatrics?
5 | Asked about my radiation-shielding project in my portfolio.

## ICT
ICT
1 | I had installed memory and a hard disk into a PC – was asked how I did this? | Front Page
2 | Question on start-up options / safe modes / BIOS booting in Windows
3 | Why is Linux not used in the NHS?
4 | Referring to the diagram: which would be more sensible to use: a hub or a switch?
5 | What special features are used on servers for more resilience.
6 | Describe how RAID works
7 | Describe how backing up data from a server can be managed.
8 | What is the difference between the software development life-cycle and project management?
9 | Describe static testing vs dynamic testing
10 | What is the Freedom of Information Act?
11 | What are the principles in the Data Protection Act
13 | How would you perform risk assessment for projects carried out?
14 | We talked about anonymised patient data – he mentioned that this shouldn’t be used for non-healthcare purposes, including educational work without patient consent
15 | I did an image registration project – was asked how I checked the accuracy of the registration.
16 | Did I get other people to test my project programs?

## MRI
MRI
Equipment |  | Equipment
Sequences
1 | Department planning/radiation protection. What magnet strength would you choose for the department? Explaining your reasoning. | Techniques
2 | How would the field lines change if it was a 3T magnet compared to 1.5T? | Safety
3 | What are the pros and cons of increasing field strength? | QA
4 | Explain the principles of birdcage and phased array coils. | Images produced by Examiners
5 | Explain how a quadrature coil works | Projects
6 | What are conditions required for birdcage to operate in quadrature? | Front Page
7 | What are the advantages of using a quadrature RF coil?
Sequences |  | Equipment
Sequences
1 | Draw the RF and gradient pulses in a gradient echo sequence. | Techniques
2 | Describe each different part of the above sequence and the effect of changing parts of it e.g. echo times, repetition times, no. of excitations. | Safety
3 | Why is the refocusing lobe only half of the slice select gradient area? | QA
4 | Does the 180° pulse have to have an associated gradient? | Images produced by Examiners
5 | Draw the pulse diagram for a SPE. | Projects
6 | Slice Selection: | Front Page
(a) | How is slice selection achieved?
(b) | Why is a sinc shape used?
(c) | How do you increase the slice width?
(d) | Why isn’t slice selection perfect?
(e) | How is slice width measured?
7 | What sequence parameters would you use for a:
(a) | T1 weighted SE image
(b) | T2 weighted SE image
(c) | proton density weighted SE image
(d) | T1 weighted GE image
(e) | T2 weighted GE image
(f) | proton density weighted GE image
8 | How does a dual echo SE pulse sequence vary from a single echo one?
9 | What is a dual echo turbo spin echo sequence?
10 | Why is T2 always less than T1?
11 | What are typical TR and TE values for T1 weighted, T2 weighted and PDW sequences?
12 | What happens if TR too short? Draw the relaxation curve
13 | If TE=80 and TR=1800, what sequence is this and what weighting do you get?
14 | How does inhomogeneity effect T2*?
15 | How does Mz vary during an inversion recovery sequence?
16 | What is the key specification for the imaging gradients?
17 | How is spatial information encoded?
18 | Why does phase wrap only occur in the phase encoding direction?
19 | What methods are there for minimising phase wrap?
Techniques |  | Equipment
Sequences
1 | Can you describe any advanced imaging techniques for reducing scan time? | Techniques
2 | What are the principles of time-of-flight MRA? | Safety
3 | Phase Contrast MRA: | QA
(a) | What are the principles of phase contrast MRA? | Images produced by Examiners
(b) | Does the phase shift depend on the velocity? | Projects
(c) | How would you make the sequence sensitive to acceleration? | Front Page
4 | What things are the important to produce a good quality contrast enhanced MRA scan?
5 | Describe two different fat suppression techniques
6 | How would you achieve FatSat using a spin echo sequence?
7 | What is STIR? How does it achieve fat suppression?
8 | Explain MR spectroscopy? Where is it used?
Safety |  | Equipment
Sequences
1 | What does an MR physicist do? | Techniques
2 | How would you convince a consultant radiologist setting up a new MR department to employ a physicist? | Safety
3 | You are the physicist in charge of plans for a new MRI unit. What things do you need to consider? Assume the room had been used as an X-ray room previously. What is the difference between installing a 1.5T and a 3T Scanner? | QA
4 | What documentation would you consult regarding MRI safety? | Images produced by Examiners
5 | What are the main hazards associated the MRI? | Projects
6 | Which effect is the most dangerous and must staff constantly be aware of? | Front Page
7 | What is the limit for switching gradient fields?
8 | Which two magnetic field strength limits are important and why?
9 | What’s the significance of 0.5 mT?
10 | What are the features of the controlled area?
11 | How is this area controlled?
12 | What is in the local rules of the department?
13 | Who would the responsible person be?
14 | What would the responsible person have to do before authorising someone to have access to controlled area?
15 | Why and how do you screen patients? What sort of things are you looking for?
16 | What sort of implants might be of concern?
17 | Why are pacemakers a contraindication?
18 | A patient is presented for a MRI scan who has previously had neuro-surgery. What do you do?
19 | A man presents with a gun shot wound to the hand would you scan the patient? If not why not and if so why?
20 | A patient is required to have a MRI scan, but she is a few weeks pregnant. The clinician asks your advice. What would you tell him?
21 | What would you advise to a female in the first trimester who presents with suspected disc compression? Would you recommend a CT scan or MRI? What factors are considered?
22 | What about safety regarding pregnant staff?
23 | A couple of safety questions: what is it about the B0 field which leads to a projectile hazard? (magnitude and gradient)
24 | What is SAR and what are its units?
25 | What factors influence the SAR?
26 | Why do you have to enter the patient's weight before a scan?
27 | What effects would a quench have on a patient left in the treatment room?
28 | Would it be a good idea to install a metal detector at the entrance to an MRI unit?
QA |  | Equipment
Sequences
1 | What QC checks would you perform in a quality assurance program and why? (Bearing in mind that it is a busy department, and you are a busy person). | Techniques
2 | What parameters would you measure during QA? | Safety
3 | What would you measure during Acceptance Testing? | QA
4 | What instrument would you use to determine the 0.5mT isocontour? | Images produced by Examiners
5 | What is the basic principle behind a Gauss Meter? | Projects
6 | What is Gibbs artefact? Would you see it in clinical images? How can you reduce it? | Front Page
7 | What is SNR?
8 | What are the main instrumental factors affecting SNR?
9 | How did you determine SNR from your QA images?
10 | Why did you use one large ROI and not several small ones?
11 | What other test would tell you if SNR had been improved at the expense of another aspect of performance?
12 | Which do you consider the most useful?
13 | Did you compare your NSNR measurements with the blue cover (MDA) reports?
14 | What could manufacturers do to improve the apparent SNR?
Images produced by Examiners |  | Equipment
Sequences
1 | Shown patient images (e.g. brain or prostate) | Techniques
(a) | What anatomy do they show? | Safety
(b) | What plane is the image taken in? | QA
(c) | What weighting was used? | Images produced by Examiners
(d) | What type of coil was used to acquire the images | Projects
2 | When looking at a contrast enhanced image - | Front Page
(a) | What is the contrast agent normally used?
(b) | How does it change the contrast in the images?
3 | Artefact images
(a) | What has caused the artefact (e.g. patient movement, ghosting, chemical shift)?
(b) | How can the artefact be reduced/removed?
4 | Why does the other one have a bright fat signal?
5 | Why is the CSF dark?
6 | Asked about oncology scanning and whether I had seen any
Projects |  | Equipment
1 | Did you have any choice of projects? | Sequences
2 | Did you do any literature searches? | Techniques
3 | Describe briefly the aim and method of each project, and comment on the results. | Safety
4 | Were you able to use the scanner yourself to obtain the phantom images, and what was its availability for such measurements? | QA
5 | Did you make the phantoms yourself? What was in the phantoms? | Images produced by Examiners
6 | Project on measuring SNR using a new phased array coil: Was asked how my method differed from the standard QA procedure. | Projects
7 | I put in my portfolio that the method I had devised might be used clinically: I was asked about the safety/risk factors involved if this was to happen. The project involved a technique known as ASSET x1: was asked to describe how this worked. | Front Page
8 | On another project, I was asked how my results compared with other groups and what could be concluded.

## Nuclear Medicine
Nuclear Medicine
Nature of Radiation |  | Nature of Radiation
Legislation
1 | Describe the following decay processes in a few words: | Radiation Protection
(a) | Beta Decay | Radiopharmacy
(b) | Positron Emission | Gamma Camera
(c) | Electron Capture | SPECT
(d) | Internal Conversion | Other Equipment
(e) | Alpha Decay | Nuclear Medicine Procedures
(f) | Isomeric Transition | QA
2 | In which of the above are gamma radiation/x-rays emitted? | Front Page
3 | Describe the three attenuation processes: photoelectric effect, Compton scattering and pair production.
4 | In which energy ranges are they each dominant?
5 | What is the dependence of the attenuation coefficient on energy and Z?
6 | What are the dangers of undergoing a nuclear medicine procedure (including those not connected to ionising radiation)?
Legislation |  | Nature of Radiation
Legislation
1 | Give the six important legislative documents regarding safety and radioactive materials. Explain the salient points of each | Radiation Protection
2 | What does ARSAC stand for? What are the main points to notice about an ARSAC certificate? | Radiopharmacy
3 | How do IRMER, MARS and ARSAC sit together? What is the link? | Gamma Camera
4 | How does the ARSAC guidance relate to clinicians? | SPECT
5 | What would you need to consider before performing research involving administration of radioactive substances? | Other Equipment
6 | Name four types of people named in IR(ME)R regarding administrating a dose of radioactivity. | Nuclear Medicine Procedures
7 | What class of environment is the radiopharmacy? | QA
8 | What regulations/bodies govern the radiopharmacy and the production of radiopharmaceuticals? | Front Page
9 | The 99Mo generator has a number printed in a diamond on the side of it - what is it?
10 | How would you go about transporting radioactive materials? What is the relevant legislation?
11 | How do you calculate the Transport Index?
12 | Where do you find diagnostic reference levels?
13 | What defines a controlled area?
14 | What restrictions are imposed by IRR?
15 | Signage on a therapy room door, other than controlled area, what should you have?
16 | What is the role of the RPS?
17 | What if the RPS doesn’t like the content of the local rules, can they change them?
18 | What is radioactive substances act - what does it do?
19 | Incidents, who do you notify if there is:
(a) | an equipment failure?
(b) | a patient overdose?
(c) | a source loss?
Radiation Protection in Nuclear Medicine |  | Nature of Radiation
Legislation
1 | What are the dose limits for staff working in radiation areas? Public? Pregnant females? | Radiation Protection
2 | What are the descriptions of classified and supervised areas? | Radiopharmacy
3 | What are the three radiation protection principles of ICRP? | Gamma Camera
4 | What are the effective doses for some common medical examinations involving ionising radiation e.g. Skull CT, Chest X-ray, Barium enema, bone scan, lung scan (ventilation) | SPECT
5 | Describe the procedure you would follow in the event of an accident/spillage | Other Equipment
6 | How would you calculate the dose received to the foetus/member of the public? | Nuclear Medicine Procedures
7 | What is the particular hazard of beta contamination? | QA
8 | What risk is there from radiation? | Front Page
9 | You have a very sick patient. Is it OK to double the administered activity? Why isn't the dose doubled if the risk is so low? Why don't we give more dose to obtain better quality images?
10 | How would you reassure an anxious parent whose child is about to undergo a nuclear medicine scan, that it was safe?
11 | How are diagnostic activities worked out for children?
12 | Does the effective dose to a child decrease in the same ratio as activity?
13 | What sort of dose might staff members in a nuclear medicine department get?
14 | What are the 3 fundamentals of radiation protection in Radiopharmacy and how are they applied?
15 | What measures are used to reduce contamination?
16 | Is 131I therapy "perfectly safe" for children at home? What sort of dose may they receive?
17 | What are the particular concerns with treating a young, female patient?
18 | What would you do if you found contamination on the dipper of an activity meter?
19 | What would you do if you had a pregnant lady with a query PE? Would you do the V/Q scan?
Radiopharmacy |  | Nature of Radiation
Legislation
1 | Describe the facilities required for the production of radiopharmaceuticals | Radiation Protection
2 | Why is Tc-99m such a useful radiopharmaceutical for medical investigations? What are its properties? | Radiopharmacy
3 | Describe the Tc-99m generator. Draw a simple energy level diagram describing the decay process | Gamma Camera
4 | Draw and describe the Tc-99m spectrum obtained using a gamma camera | SPECT
Other Equipment
Nuclear Medicine Procedures
Gamma Camera |  | QA
Front Page
Camera
1 | Explain how a gamma camera works.
2 | Draw the head of a gamma camera and explain the function of each component.
3 | Describe the operation of a gamma camera with respect to the image quality.
4 | What are the units of camera sensitivity, and how would you measure it?
5 | What is the efficiency of a gamma camera?
Collimator
1 | What is a collimator
2 | Have you actually seen one?
3 | What shape are the holes?
4 | What are the advantages of using hexagonal or triangular septa, as opposed to circular holes drilled in lead?
5 | How many holes are there?
6 | What types of collimators are there?
7 | What are converging and diverging collimators and when would you use each?
8 | What are the approximate energy ranges of the high, medium & low E collimators?
9 | What isotope are low energy ones used for and what energy is this at?
10 | How do medium energy collimators differ?
11 | What sort of increase in thickness of the septa is needed?
12 | What is full width half maximum? Describe it.
13 | What is the relationship between resolution and sensitivity?
14 | How does the collimator affect sensitivity?
15 | What is the definition of resolution and sensitivity with respect to collimation?
16 | What are the factors that affect image quality with respect to the collimator?
17 | How are resolution & sensitivity of camera related to distance etc.?
18 | Give typical values for Ri and Rc and hence what is Rs
(R for resolution, i=intrinsic, c=collimator, s=system)
19 | What would you see if the collimator was damaged and what effect would that have clinically?
Crystal
1 | What are the most important properties in a scintillation crystal?
2 | Why is NaI(Tl) the primary choice for crystal material?
3 | What is the gamma radiation range of NaI(Tl)?
4 | What physical process happens in the scintillation crystal?
5 | What is the average dead time of the crystal?
6 | Give a typical thickness of a crystal.
7 | Why is the crystal thickness important?
8 | How efficient is the crystal at stopping a gamma ray which has passed through the collimator septa?
Detectors/PMTs
1 | How many PM tubes are used? What is a typical PM tube diameter?
2 | Why does the number of detectors matter?
3 | Describe the operation of the PM Tube, what accelerating voltages are used?
4 | What is an approximate yield of electrons at the final dynode?
Electronics, etc
1 | Describe briefly the pre-amp, amp and pulse height analyser
2 | What corrections may be applied to the camera (5)?
3 | How are the x, y, z position signals generated?
4 | At what point are signals from a gamma camera digitised?
5 | How is an energy spectrum obtained?
6 | How is the energy resolution determined from such a spectrum?
Radiopharmaceuticals
1 | Draw a typical gamma energy spectrum. Describe the main features and what processes give rise to them
2 | What are the considerations necessary when setting up a service to use a new isotope for clinical use?
3 | What isotope is typically used for investigations?
4 | Gas-filled detectors: Sketch the graph of current against voltage for gas-filled detectors. Include voltage ranges for each region
5 | Describe the operation of ionisation chambers, proportional counters, GM tubes
6 | Brief description of semiconductor detectors
SPECT Imaging |  | Nature of Radiation
Legislation
1 | Give reasons why SPECT can be an advantage over planar imaging. | Radiation Protection
2 | Simply describe the theory of SPECT imaging and any problems encountered. | Radiopharmacy
3 | Describe filtering techniques/types that are used (particularly with reference to PE) | Gamma Camera
4 | Describe the effect of the Nyquist theory on data sampling (both translational and angular) | SPECT
5 | Explain the need for attenuation correction - explain the pre-processing & Chang methods | Other Equipment
6 | What attenuation correction can you use other than CT or a line source? | Nuclear Medicine Procedures
7 | What artefacts may be present in SPECT imaging? | QA
8 | Explain why noise is a problem in SPECT images | Front Page
Other Equipment
1 | What's the difference between PET and conventional nuclear medicine?
2 | GM and scintillation monitor calibration. How does the sensitivity of each vary for photons and electrons and why?
3 | Gamma probes, what precautions do they use in theatre?
Nuclear Medicine Procedures |  | Nature of Radiation
Legislation
1 | Renal Morphology. Describe the salient points including: | Radiation Protection
(a) | characteristics of radiopharmaceuticals | Radiopharmacy
(b) | activity administered | Gamma Camera
(c) | effective dose | SPECT
(d) | calculations for depth of kidney | Other Equipment
Nuclear Medicine Procedures
2 | Lung ventilation/perfusion. Describe the salient points including: | QA
(a) | activity administered | Front Page
(b) | effective dose
(c) | characteristics of radiopharmaceuticals
(d) | comparison with other ventilation agents/techniques
3 | Bone Scans. Describe the salient points including:
(a) | characteristics of radiopharmaceuticals
(b) | activity administered
(c) | effective dose
(d) | 3 phase bone imaging
(e) | Does the couch move at the same speed throughout?
(f) | If it pauses over the head why is this part not darker than the rest of the image?
(g) | Why are static views taken for a Bone Scan?
(h) | If statics views are so good, why are scanning images taken?
(i) | What is the sensitivity of a 2 phase bone scan?
4 | Renograms. Describe the salient points including:
(a) | characteristics of radiopharmaceuticals (DTPA & MAG3)
(b) | activity administered
(c) | effective dose
(d) | regions of interest used for processing
(e) | time activity curve (normal, obstructed)
(f) | different phases
(g) | relative function deconvolution technique, why? transit times from this?
5 | Oesophageal transit. Describe the salient points including:
(a) | characteristics of radiopharmaceuticals
(b) | activity administered
(c) | effective dose
(d) | parametric imaging describe
(e) | How would you measure gastric emptying of both a liquid & a solid simultaneously?
(f) | What isotopes might you choose?
(g) | How would you correct for scatter from higher energy isotopes for dual isotopes scans?
6 | Radionuclide ventriculography/MUGA. Describe the salient points including:
(a) | describe two types
(b) | characteristics of radiopharmaceuticals
(c) | activity administered
(d) | effective dose
(e) | explain method of data collection, e.g. ECG gating
(e) | What is the purpose of gated scans?
(f) | what is the average count recorded over one heartbeat?
(g) | how do we calculate LVEF?
(h) | What is the meaning of phase and magnitude images in a MUGA (to determine LV ejection fraction) scan?
7 | Myocardial Perfusion. Describe the salient points including:
(a) | Draw the diagram of how blood flow in coronary arteries alters with respect to percentage narrowing.
(b) | Compare the different radiopharmaceuticals and stressing techniques. Why would you choose one over the other?
(c) | characteristics of radiopharmaceuticals, e.g. myocardial uptake percentages
(d) | activity administered
(e) | effective dose
(e) | protocol
(f) | Will there be any differences between men and women? Why?
(g) | views
(h) | How do you correct for attenuation from targets deep within the patient?
(i) | quantification
(j) | Why is there an exaggerated difference between normal and abnormal myocardium tissue in stress MPI?
8 | Non-imaging C-14 Urea. Describe the salient points including:
(a) | characteristics of radiopharmaceuticals
(b) | activity administered
(c) | effective dose
(d) | protocol
(e) | give a brief description of liquid scintillation counting
(f) | calculations
9 | Non-imaging GFR:
(a) | How is a GFR performed?
(b) | Explain compartmental analysis diagram. What does the equation mean, what are the decay constants, and what are their units?
(c) | Which part of the curve are the blood samples taken from?
(d) | Are four really necessary?
(e) | Do we completely ignore the top part of the curve?
(f) | What are the problems associated with using a multi-channel sample counter to perform a GFR test?
(g) | Where do you get your GFR standard from?
10 | Therapy:
(a) | What is the max dose you can give in 131I thyrotoxicosis therapy to an outpatient?
(b) | How do you explain 131I therapy precautions to a patient?
(c) | Is the procedure "perfectly safe" for children at home?
(d) | What sort of dose may they receive?
(e) | What are the particular concerns with a young, female patient?
(f) | How do you make sure that she is not pregnant?
(g) | I-131 Hyperthyroid Therapy. I had performed an investigation and proposed an 'improved' background region. Discussion centred on problems with the established region and what problems could be introduced with the new region. What would be the effects?
(h) | For 177Lu-Dotatate therapy what would you give to protect the kidneys?
QA |  | Nature of Radiation
Legislation
| QA Process | Radiation Protection
1 | Describe the role of the nuclear medicine physicist | Radiopharmacy
2 | What are the definitions of QC and QA? | Gamma Camera
3 | What publications/organisations advise on QC procedures? | SPECT
2 | How does monthly QA differ from daily QA? | Other Equipment
Nuclear Medicine Procedures
| Gamma Camera | QA
1 | Why is gamma camera QA necessary? What actions would be taken and what are tolerance levels? | Front Page
2 | Is the camera emergency stop button really tested daily?
3 | Weekly tests
(a) | Describe the uniformity test, number of counts, set-up, quantification
(b) | Why is uniformity important?
(c) | What is the difference between integral and differential?
4 | 6 Monthly tests
(a) | Spatial distortion/linearity - source, phantom, size of lines?
(b) | Spatial resolution (System) - source, phantom, size of holes, quantitative measurement?
(c) | Explain the differences in the resolution of the Williams phantom images (with and without scattering medium).
(d) | Sensitivity - source, phantom
(e) | Energy dependant spatial resolution -how? Number of counts, radiopharmaceuticals, limit of difference?
SPECT
1 | SPECT QA
(a) | Centre of rotation Correction - why is it important? Source, protocol, processing?
(b) | If COR was not correct what would be the effect on the image?
(c) | Gantry Stability - Protocol, processing.
(d) | Tomographic uniformity - why? How?
Other equipment
1 | Radionuclide Calibrator
(a) | Daily - Cs-137 source, limits of error?
(b) | Six Monthly - Standard sources from Amersham, should be within?%
(c) | Reproducibility - Protocol, radionuclide, measurements, error margin?
(d) | Linearity - Protocol, limits on result?
2 | What would be the consequences of performing an investigation with a radiopharmaceutical of poor:
(a) | Radionuclide Purity?
(b) | Radiochemical Purity?
3 | Describe the steps you would go through to get a reliable/accurate measurement using an activity meter.

## Physiological Measurement
Physiological Measurement
Safety and Quality Assurance |  | Safety & QA
Physiology and Anatomy
1 | What legislative documents are important for physiological measurement? | Signals & Detection
2 | List the risks associated with recording an EP? | Recording an EP
3 | What can be done to minimise these risks? | Pressure and Flow
4 | What are the risks for some other measurement techniques? Examples? | Cochlear Implants
5 | What are the types of value for dangerous currents which could be harmful in the testing environment? | Results of EP Procedures
6 | Describe the electrical safety procedure which should be carried out on a piece of testing equipment. When do these checks have to be carried out? | Front Page
7 | How would you isolate a patient from the mains?
8 | You have been given a budget to create a Phys Meas facility within a hospital. How would you go about doing this?
9 | What do you need to consider in implementing a new procedure?
10 | Supposing you had equipment where suddenly all of your transducers went missing, and you had to get some immediately. What would you do?
11 | You've developed a new piece of research equipment, and a doctor comes along and asks to use this in theatre. Would you let him?
12 | What types of energy can be transmitted to a patient?
13 | You have a study of 12 people. Is this a suitable number for a clinical study? What would you do if you wanted to do a full clinical study?
Physiology and Anatomy |  | Safety & QA
Physiology and Anatomy
1 | Sketch the ear and explain how sound is heard | Signals & Detection
2 | Sketch the brain pathways used in audition and explain what each level of generator does | Recording an EP
3 | What is adaption? | Pressure and Flow
4 | What is habituation? | Cochlear Implants
5 | Give some hearing problems which may occur, how they may be diagnosed and how they may be treated | Results of EP Procedures
6 | Sketch the eye and explain how vision occurs | Front Page
7 | Sketch the brain pathways used and explain the generators of the visual EP
8 | Give some visual problems which may occur, how they may be diagnosed and how they may be treated
9 | Sketch the bladder and show how micturition occurs
Physiological Signals and their Detection |  | Safety & QA
Physiology and Anatomy
1 | What physiological signals can we measure? | Signals & Detection
2 | What limits the smallest signal that can be recorded? | Recording an EP
3 | Where do these signals originate from? | Pressure and Flow
4 | What is aliasing? | Cochlear Implants
5 | What is an evoked potential? | Results of EP Procedures
6 | How big are visual potentials, auditory potentials, thermal noise, the background EEG noise? | Front Page
7 | How can some common bodily pressures and flows be measured?
8 | Why do the bodies signals need converting before measurement?
9 | What methods (invasive and non-invasive) can be used to measure physiological signals?
10 | Explain how electrodes are used? Sketch a typical electrode and explain the components
11 | What other types of electrode are there?
12 | Describe the role of the physicist in physiological measurement
13 | What is a strain gauge?
14 | Give an example of a strain gauge used in physiological measurement
15 | What is piezoelectric material?
16 | What accuracy would you get from a temperature sensor which gives a linear output of10 mV/oC, attached to a 8 bit A/D converter with a 0 – 2.5V range?
17 | What is the difference between a thermistor and a thermocouple?
18 | What are the advantages and disadvantages of each?
19 | Describe each step in this process (diagram below included from portfolio)
Recording an Evoked Potential |  | Safety & QA
Physiology and Anatomy
1 | Sketch the required components of a signal measurement system | Signals & Detection
2 | What role do differential amplifiers play in the amplification of the signal? | Recording an EP
3 | What are the important factors pertaining to op-amps? | Pressure and Flow
4 | What is the size of the signal, the noise, the ECG, etc? | Cochlear Implants
5 | What sort of filtering is required? Draw a typical filter explaining the components | Results of EP Procedures
6 | What is the 3dB point? | Front Page
7 | Briefly explain why the sampling rate is important and what effect the Niquist theorem has
8 | What are the assumptions of signal averaging?
9 | If an ABR is 1(V and the background EEG is 10(V, how would you predict the number of averages required to obtain a reasonable S/N ratio?
10 | List some possible artefacts for an EP signal and how they might be reduced
11 | What is the role of screening and how may this be done?
12 | Why is calibration of equipment important? Briefly explain how to calibrate a bone conductor stimulus
13 | What does EMG stand for?
Pressure and Flow measurement |  | Safety & QA
Physiology and Anatomy
1 | What disorders of the bladder might require pressure or flow measurements? | Signals & Detection
2 | What pressures and flows (and volumes) can be measured? | Recording an EP
3 | How can they be measured? | Pressure and Flow
4 | Fluid filled catheters and transducers: Sketch the frequency response of a transducer with and without air bubbles. Why does this happen? | Cochlear Implants
5 | What effect do bubbles in liquid filled catheters have? | Results of EP Procedures
6 | Describe what is happening physiologically during these urodynamics tracings (included in portfolio) | Front Page
7 | What information from the test is given to consultants?
8 | Describe flow-volume loops for normal, obstructive and restrictive disease patients
9 | What causes the low flow in obstructive disease?
10 | What range of values might be considered “normal” in PFU?
11 | How do doctors know this, since the results sheet shown only state a percentage of the predicted value?
Cochlear Implants |  | Safety & QA
Physiology and Anatomy
1 | Explain how a cochlear implant works with the aid of diagrams | Signals & Detection
2 | Explain the operation modes of an implant | Recording an EP
3 | What tests are carried out before a candidate is allowed an implant? | Pressure and Flow
4 | What are the required limits on the hearing threshold? | Cochlear Implants
5 | What EP tests can be carried out to test the function of the implant in situ? Briefly describe each test and its purpose | Results of EP Procedures
Front Page
Results of EP Procedures
1 | Describe the salient points of the following examinations:
ECochG
(a) | applications
(b) | stimulus
(c) | recording parameters
(d) | example of normal and abnormal waveforms and their components
(e) | generators
(f) | why record ABR at the same time?
ABR
(a) | Distinguish between TABR and NABR.
(b) | What features do air conduction and bone conduction bring to the waveform?
(c) | Generators of the waveform components
NABR
(a) | applications
(b) | stimulus
(c) | recording parameters
(d) | example of normal and abnormal waveforms and their components
TABR
(a) | applications
(b) | stimulus
(c) | recording parameters
(d) | sedation
(e) | example of normal and abnormal waveforms and their components
ACR
(a) | applications
(b) | stimulus
(c) | recording parameters
(d) | example of normal and abnormal waveforms and their components, generators
TYMPS
(a) | applications
(b) | example of normal and abnormal waveforms and their components
ERG
(a) | SERG, GERG and MERG
(b) | applications
(c) | stimulus
(d) | recording parameters
(e) | example of normal and abnormal waveforms and their components, generators
VEP
(a) | FLASH vs pattern ONSET and REVERSAL
(b) | applications
(c) | stimulus
(d) | recording parameters
(e) | example of normal and abnormal waveforms and their components, generators
EOG
(a) | applications
(b) | stimulus
(c) | recording parameters
(d) | example of normal and abnormal waveforms and their components
(e) | definition of Arden index

## Radiation Protection
Radiation Protection
Legislation |  | Legislation
IRR
1 | What ionising radiation legislation is there? | IRMER
2 | Where would you get more guidance on implementing ionising radiation legislation? | RSA
3 | Is there any legislation for non-ionising radiation similar to that of ionising radiation? | Doses
4 | What changes in legislation will there be shortly? | Equipment
Surveys
Ionising Radiations Regulations (IRR) |  | General Protection
Non-Ionising Protection
1 | Describe what is contained in IRR. | Front Page
2 | Whose protection is IRR mainly concerned with?
3 | Under IRR there is the need for a prior risk assessment.
(a) | How would you go about performing a risk assessment?
(b) | What would you look for?
(c) | What risks are there in an NM department?
4 | If this was for a new Nuclear Medicine department what do you think as a result of the risk assessment would be needed in the department?
5 | What would be typical classifications of rooms in a NM department?
6 | In terms of room shielding would lead be used in an NM department?
7 | What references would you use if you were designing an x-ray room?
8 | What factors would you take into account?
9 | How would you determine if the shielding in the room was adequate?
10 | What is a controlled area and why do you have a controlled area?
11 | What are the requirements of a controlled area?
12 | Name a controlled area you worked in during training? (RT treatment room).
13 | Local Rules
(a) | When are they required?
(b) | What must be contained in the Local Rules?
14 | Do you know what investigation levels are used and why?
15 | What dose limits are applied to the public, classified staff and non-classified staff?
16 | What are the dose limits to the extremities?
17 | Where would you find classified workers?
18 | Who are likely to be classified workers?
19 | Are radiographers in your RT department classified?
20 | Why are personal dosimeters issued to staff working with ionising radiation?
21 | What devices are used for personal monitoring?
22 | What are TLDs?
23 | What sort of errors would you expect from them?
24 | What about errors from a film badge? Which is greater?
25 | Can you describe who and what are comforters and carers and give an example of when a person would be a comforter and carer?
26 | What differences are there under IRR 99 between comforter and carer and a member of the public?
27 | What is the difference in someone who assists in exposure, e.g. restraining infant, and a comforter and carer?
Ionising Radiation (Medical Exposure) Regulations (IRMER) |  | Legislation
IRR
1 | Describe what is contained in IRMER | IRMER
2 | Whose protection is IRMER mainly concerned with? | RSA
3 | Which roles are described in IRMER? | Doses
4 | Where does the Medical Physicist fit into these? | Equipment
5 | Give examples of referrer, practitioner and operator? | Surveys
6 | Explain optimisation and justification to someone who has never heard the terms before. | General Protection
7 | If there is an incident under IRMER when should it be reported to the healthcare commission? | Non-Ionising Protection
8 | Are there dose limits for patients? | Front Page
9 | What are DRLs and where do they come from?
10 | What are typical values of DRL for diagnostic x-rays?
11 | When performing patient dose surveys for rooms in a department, what would you then check the doses against?
12 | If two rooms showed differing doses for the same type of exam, what would you check to try and explain this?
Radioactive Substances Act (RSA)
1 | What is RSA?
2 | You have a bone patient discharged to a nursing home, would the level from their excretion be above or below exemption levels in RSA? What are the approximate exemption levels in RSA?
Doses |  | Legislation
IRR
1 | What is: | IRMER
(a) | Absorbed dose and what is its units | RSA
(b) | Air kerma and what is its units | Doses
(c) | Equivalent dose and what is its units | Equipment
(d) | Effective dose and what is its units | Surveys
(e) | How does Air kerma and Absorbed dose in air vary | General Protection
2 | Why is Effective dose used in preference to the absorbed dose to a particular organ/tissue? | Non-Ionising Protection
3 | For e.g. a chest X-ray, if you had the entrance dose how would you calculate the effective dose? | Front Page
4 | What is the typical range of effective doses in diagnostic radiology?
5 | Explain Stochastic and non-stochastic effects.
6 | What are deterministic effects?
7 | Would you see any deterministic effects in Diagnostic radiology?
8 | Where are you most likely to observe deterministic effects in radiology?
9 | Have there been any reported cases in the UK?
10 | What happens if a person received a whole body dose of 10Gy – what does this mean?
11 | What methods are therefore assessing dose to a patient? Which is "best"?
12 | How would you convey the dose, or risk from a dose from a certain procedure to a member of public?
13 | What is the received annual background dose?
Equipment |  | Legislation
IRR
1 | What does a Geiger tube detect and why? | IRMER
2 | What is a compensated Geiger and what dose it detect? | RSA
3 | Describe how a scintillation detector works and what it is used for. | Doses
4 | Describe how TLDs work | Equipment
5 | What factors affect TLD readings? | Surveys
6 | What is the minimum detectable dose of a TLD? | General Protection
7 | What would you expect your margin of error to be from a TLD? | Non-Ionising Protection
8 | How could you reduce the errors involved? | Front Page
9 | What else could you use to measure effective dose?
10 | Which is better and why?
11 | What is dose-area-product?
12 | Out of all diagnostic X-ray equipment, which would it be better to have a DAP meter installed into and why? i.e. according to the procedures carried out.
13 | Chest buckys:
(a) | Why are there three AEC chambers?
(b) | Why are they arranged in the way that they are?
(c) | What happens if AEC is not working properly and does not observe required dose?
Surveys |  | Legislation
IRR
1 | What typical issues & recommendations are detected in room protection surveys? | IRMER
2 | What things would you measure for a QC on an x-ray unit? | RSA
3 | Annual survey on a piece of fluoroscopy equipment. | Doses
(a) | What tests are performed? | Equipment
(b) | How are dose rate measurements at the image intensifier face obtained? | Surveys
(c) | What dose rate would be measured typically? | General Protection
(d) | What else do you have to take into consideration? | Non-Ionising Protection
(e) | What would you do with the results of the survey and why? | Front Page
General Protection
1 | What are the basic rules of Radiation protection?
2 | A worker comes up to you and says they don't want to wear gloves as they can't feel what they are doing properly. They will wash their hands after each time they have been preparing radioisotopes. Is this appropriate?
3 | What factors do you need to consider when you are handling radioisotopes?
Non-Ionising Protection |  | Legislation
IRR
1 | Did you go on any laser surveys? What did you do when you were there? | IRMER
2 | Did you survey any laser protocols? | RSA
3 | What laser protocols do you think there should be? | Doses
4 | What is the NOHD? | Equipment
5 | How the results of a NOHD calculation applied? e.g. the NOHD for an LIO was 3m, does that mean that a 3m radius is drawn around the laser as a controlled area? | Surveys
6 | You took part in an MRI commissioning including a field strength survey, describe how you went about this and compare it to an ionising radiation survey. | General Protection
Non-Ionising Protection
Front Page

## Radiotherapy
Radiotherapy
Equipment |  | Equipment
Dosimetry
| Linear Accelerators | Treatment Planning
1 | What are the differences (disadvantages and advantages) between LINACS and Cobalt-60 machines? | Brachytherapy
2 | Sketch the main components of a linear accelerator. | QA
3 | Describe the theory of beam production and the part each of the following components plays in the production of a clinically useful beam: | Radiation Protection
(a) | Modulator | Front Page
(b) | Klystrons & Magnetron
(c) | Electron Gun
(d) | Accelerator Waveguide
(e) | Bending Magnet
(f) | Target
(g) | Flattening Filter
(h) | Collimation (primary & secondary)
(i) | Monitor Ionisation Chambers
(j) | Wedges (physical/flying/dynamic)
4 | What changes are made to change the Linac from photon to electron mode?
5 | What are the different methods used for bending the beam?
6 | 270° bending magnet:
(a) | Describe a 270° bending magnet
(b) | Why do all electrons exit the magnet at the same point?
(c) | What would happen to low energy electrons?
7 | Why is a flattening filter needed? Why is the beam more intense in the centre of the field? (beam hardening)
8 | How is flatness measured?
9 | What shape is the primary collimator?
10 | What are the purposes of the secondary collimators?
11 | What is the difference between a dynamic wedge & an enhanced dynamic wedge?
12 | Imaging on Linacs:
(a) | Name two types of EPID available?
(b) | Which is the most commonly used?
(c) | What else can be used to form images during treatment?
(d) | How does this work?
(e) | Why might this be of particular importance?
13 | Why do linacs have two dose monitors? Describe their features.
14 | What are the differences between the Varian 600C and the Siemens KD2?
15 | What factors affect beam output?
16 | What happens if the electron gun current is too high?
17 | How long does it take for the collimator head to rotate through an angle of 90°?
Orthovoltage (Conventional) X-ray Machines
1 | Describe the operation of a standard therapy x-ray machine.
2 | How do you define the energy on an orthovoltage unit?
3 | What is the purpose of the beryllium window and how thick is it?
4 | How is most of the energy lost?
5 | Describe how & why full wave rectification of the high voltage supply is necessary.
6 | Sketch the radiation spectrum seen, with and without the effect of target filtration and additional filtration.
7 | Explain the need for external filters.
8 | What materials are used?
9 | What would a plot of filter thickness with output look like? Draw it
10 | What would be possible reasons for a kink in the measured curve?
11 | Why do applicators for x-rays (>150kVp) have a closed perspex end?
12 | What is the ‘Heel Effect’?
Ionisation Chambers & Monitors
1 | Sketch a free air ionisation chamber.
2 | What is it measuring?
3 | What is the definition of exposure?
4 | Where is the charge collected in an ionisation chamber?
5 | Describe the effective point of measurement in ionisation chamber?
6 | What is the difference between a sealed and an unsealed chamber?
7 | In what situations would they be used?
8 | What effects do temperature and pressure have on the readings?
9 | How does this affect the design of the free-air ionisation chamber?
10 | What thickness of surrounding air is required at 200kV? 300kV?
11 | Sketch a simple thimble chamber.
12 | What is the air equivalent wall?
13 | How does a Farmer chamber work?
14 | How does a GM tube work? Explain dead time.
15 | What affects ionisation chamber measurements at high dose rates?
Dosimetry |  | Equipment
Dosimetry
| Dose Quantities | Treatment Planning
1 | Give the definitions of, and units for: | Brachytherapy
(a) | Exposure | QA
(b) | Air Kerma | Radiation Protection
(c) | Absorbed Dose | Front Page
2 | How are the three related?
3 | Under what conditions can air kerma and dose be considered identical, when not?
4 | What calculations must be made to change dose in air to dose in water?
Photon/Electron Interactions & Depth Dose Characteristics
1 | Describe the main photon interaction processes, their energy and atomic number dependence and threshold for domination using a graph.
2 | What determines the energy of the characteristic X-rays?
3 | What is the main type of interaction process responsible for deposition of dose in a MV beam.
4 | Why does this energy give poor contrast resolution in an image?
5 | Why does kV radiation give better contrast?
6 | Describe the main electron interaction processes.
7 | Sketch depth dose curves and isodose distributions for kilovoltage, megavoltage and electron beams.
8 | How does the curve vary with energy for each? Why?
9 | Why is the entrance surface dose not 0% for MV beams?
10 | Sketch depth dose curves for 300, 100 and 50kV x-rays.
11 | What are the approximate 90% depths for low and medium energies?
12 | Why do we get dmax?
13 | Why does the dose fall off?
14 | Where does the surface dose come from?
15 | What is the ‘rule of thumb’ describing the relationship between dmax and the photon/electron energy?
16 | How does the PDD change with increasing field size?
17 | How does the PDD change with increasing SSD?
Dosimetry Calibration Chain
1 | Why is dosimetry important?
2 | What are relative and absolute dosimetry?
3 | What dosimetry codes of practice are in place?
4 | What dates were these published?
5 | Codes of practice ensure consistency of calibrations across all centres. If no codes of practice were in place, how else might consistency be assessed?
6 | What is the code of practice relating to kilovoltage output measurements?
7 | How are the three energy ranges categorised?
8 | Explain the dosimetry calibration chain?
9 | What's used as the primary standard - why is this good?
10 | What is the difference between the local secondary standard & a field instrument?
11 | Draw relative to the linac head where you would measure the output
12 | If you set 100MU on a linac where would you expect to measure 100cGy?
13 | Can you describe how a calibration factor is derived for the field chamber?
14 | What tolerance would you expect on the calibration of a field instrument?
15 | What is the criterion for deciding if this should replace the previously determined calibration factor?
16 | How do you measure the energy of the output from a linac?
17 | Why can't you just use the accelerating energy, i.e. 6 MV ?
18 | Why do you need to know about beam quality?
19 | Quality Index:
(a) | What is a quality index?
(b) | How is it measured?
(c) | How do you use it in cross calibration?
20 | Why is it necessary to apply a temperature pressure correction factor?
21 | If you don’t apply this factor, what kind of output measurement would you expect on a very hot day? A day with high pressure?
22 | What chamber should no longer be used for electron measurements?
23 | Describe the process in reaching a measured electron dose.
24 | How do you perform an intercomparison between a secondary standard and field chamber for electron chambers?
25 | If the difference in measurements between the two electron codes of practice was 5%, what impact would this have clinically?
26 | At what energy is the secondary standard calibrated at NPL?
27 | What might you do before & after sending a chamber to NPL for cross calibration and why?
28 | Consistency check:
(a) | Describe the Sr-90 checks on a field instrument
(b) | Why is Sr-90 used?
(c) | What are the errors involved?
(d) | What is the tolerance on the Sr-90 measurement?
(e) | Where would you go to find this if you didn't know?
(f) | What implications are there when using a β-emitting source for assessing the consistency of response of the chamber to photons?
29 | Prior to an Sr-90 check, what else do you need to consider about the electrometer?
30 | What is leakage current and how would you prevent it?
31 | What would you do if you discover the electrometer leakage measurement is out of tolerance?
General
1 | You discover that the chamber has become wet. What do you do?
2 | What effect does decreasing the collimator size have on the measured output?
3 | What effect would smaller collimator size have on the dose measured by the ion chambers?
4 | What is the pulse width of the output of the linac?
5 | How do you measure a wedge factor?
Patient Dose Measurement
1 | How can you do in vivo dosimetry?
2 | What are the pros and cons of diodes over TLD’s?
3 | When might a TLD be more suitable for measurements?
4 | What kind of dose error can be expected on TLD dose measurements?
5 | How might you improve this?
Treatment Planning |  | Equipment
Dosimetry
1 | Explain the role of the physicist in each stage of patient treatment. | Treatment Planning
2 | What is virtual simulation? | Brachytherapy
3 | Briefly describe the role of CT simulation in treatment planning | QA
4 | What happens in the mould room? | Radiation Protection
5 | Describe the random and systematic errors in patient positioning. Give examples and magnitudes | Front Page
6 | What is ICRU 50 and explain its contents.
7 | Can you outline ICRU 52
8 | Describe the volumes outlined in the ICRU reports.
9 | What field size would you use for a certain tumour?
10 | Why might growing a uniform CTV not be the best idea in some cases?
11 | What is NTCP?
12 | What are the advantages in terms of treatment planning of each of electrons, kV photons and MV photons?
13 | When might orthovoltage photons be more useful than electrons for superficial treatments?
14 | For an electron treatment, what energy would you use to treat up to 3 cm deep?
15 | Can you treat to the surface?
16 | What information do you need to calculate the monitor units for a plan?
17 | What is the definition of TMR?
18 | Why do we use TMR with photons but PDD with electrons?
19 | Why does the TMR change when there is a wedge in the beam?
20 | Define TPR.
21 | How do you allow for timer error?
22 | How much is the BSF in kV calculations?
23 | Describe the treatment planning algorithm used at your centre.
24 | How is the treatment planning system verified?
25 | Describe a treatment plan check.
26 | Why would you expect the dose calculations to be slightly different for manual and computerised planning?
27 | Describe how you can create a wedge dose distribution.
28 | Why is it important to use the Y-axis wedge rather than the X-axis wedge?
29 | Do you have a feel for typical wedge angles that are used in various plans?
30 | What is an enhanced dynamic wedge?
31 | Why does wedge ratio vary with field size?
32 | What is conformal radiotherapy and how can it be improved upon?
33 | If you had a particular area of a field blocked out, how would you calculate the required treatment time?
Breast Plan
1 | Sketch the field layout for breast treatment based on two beams
2 | In reference to a specific breast plan: why use tangential fields rather than parallel opposed?
3 | What effect does it have on the isodose distribution if the beam traverses lung? Does the TPS account for this?
4 | What could one use in a breast plan instead of wedges?
5 | Examiner drew a rough breast contour. Plan this using 2 beams, what wedges, what energy? What hot spots could you get & how could you compensate for this?
Neck Plan
1 | Referring to a 3 field neck plan: explain the use of wedges in this plan and why certain gantry angles were used?
2 | What is the dose limit to spinal cord?
Rectal Plan
1 | Examiner drew a rough patient contour (an oval) with a rough rectal PTV (another oval towards the back). Label ant post left right. Roughly draw the beam arrangement using 3 beams including wedges, what energy would you use?
Prostate Plan
1 | How can you locate the prostate on patient setup?
Bladder Plan
1 | Explain your choice of beam arrangement for the bladder plan in your Portfolio?
2 | Why was a wedge necessary?
3 | Why did you use three fields?
Brachytherapy |  | Equipment
Dosimetry
1 | What is the reference air kerma rate (RAKR) for a brachytherapy source? | Treatment Planning
2 | How is RAKR defined? | Brachytherapy
3 | Why is the source activity not used? | QA
4 | How are the Basal Dose Rates and Reference Dose Rates defined? | Radiation Protection
5 | What are the properties of Ir-192? | Front Page
6 | Describe the properties of an ideal source and relate these to currently used Cs-137 & Ra-226.
Brachytherapy: Intracavity
1 | What is intracavity brachytherapy?
2 | What are the advantages of this type of treatment?
3 | What are the anatomical origins and geometrical positions of points A & B in the Manchester system?
4 | How would you calculate the dose to the A points?
5 | Explain the weighting between the ovoids and the tubes.
6 | Do you take into account attenuation caused by tissue or the applicator, give a ball park figure for these effects?
7 | What are the dose limits to the rectal and bladder points?
8 | What are the advantages of afterloading brachytherapy devices?
9 | What are the approximate dose rates for LDR, MDR & HDR afterloading systems?
10 | What are biological effects of using a LDR or MDR machine?
11 | Describe the Selectron suite and afterloading machine (plus applicators) at your training hospital.
12 | What is the purpose of catheterisation?
13 | If afterloading is not possible (e.g. Ir-192) how can excessive exposure to radiation be avoided?
14 | What radiation protection devices are in place?
Brachytherapy: Interstitial
1 | What are the major features of the Paris system of dosimetry (9 Rules)?
2 | Illustrate on a single plane interstitial implant the relative dose distribution obtained with the Paris system.
3 | On the same diagram, what volume would the Manchester system address?
4 | How does the Paris system differ from the Manchester system?
5 | What is the effective length of the hairpin taken to be?
Unsealed Source Therapy
1 | What are the properties of I-131?
2 | How is it used therapeutically?
3 | What are the administered activities for ablation and overactive thyroid treatment?
4 | Describe the procedure in each case.
QA |  | Equipment
Dosimetry
1 | What is ISO9000? How is it related to your RT centre? | Treatment Planning
2 | How does it affect physicists and radiographers? | Brachytherapy
3 | Is there any legislation relating to QC tests? | QA
4 | How are QC tolerance values determined? | Radiation Protection
Front Page
Megavoltage QA
1 | List the daily checks performed and the tolerances for each result.
2 | What additional checks are performed weekly?
3 | List the checks performed monthly on the Linac.
4 | What codes of practice are used?
5 | Describe the experimental set-up including the field size, MU, build-up material, tolerances, etc. for each check.
6 | What are the limits we can accept when measuring output - and why?
7 | If the output was 3% different from yesterdays, what would you do?
8 | When measuring the output from a linac, you discover that the measurement differs from that obtained the previous day by 5%:
(a) | What do you do?
(b) | What may have affected this?
(c) | If you cannot find the fault what would you do?
9 | If a monitor unit is defined at dmax, why would you not put the chamber at dmax for dose monitor calibration checks?
10 | Why do we do dmax profile scans and measurements?
11 | Head scatter measurements.
(a) | Why are they performed?
(b) | Are they utilised in the treatment planning system?
12 | Field Size:
(a) | How is the field size defined?
(b) | Is it a 10 x 10 cm field at the isocentre or at 100cm FSD?
(c) | How would you measure the field size?
13 | How would you determine the field size from an isodose plot?
14 | Describe the procedure used to measure the light field-radiation field coincidence.
15 | Symmetry and Flatness:
(a) | What are flatness & symmetry and how do you calculate them using a cross plot?
(b) | How is the symmetry of a radiation field defined, and over how much of the beam would you measure it?
(c) | How would you measure flatness with film?
(d) | What would happen if you only used a few MU?
(e) | What are the problems of using a diode array?
(f) | Why aren't flatness scans flat?
(g) | If the beam wasn’t flat, what might be the causes?
16 | If you discover the lateral laser is 5mm below that on the opposite wall what would you do?
Kilovoltage QA
1 | Describe the procedure for checking the output reading.
2 | What is the backscatter factor?
3 | What corrections must be applied to the instrument reading?
4 | What are the differences between the measurement/calculation made for outputs at 100, 150 and 250kV?
5 | What other QC procedures might be carried out on the kilovoltage unit?
6 | Describe how you would determine the HVL for different orthovoltage energies?
7 | Why are the metal sheets placed about midway between the tube and the ionisation chamber?
8 | What is the approximate shape of the radiation distribution in a plane parallel to the anode-cathode axis?
General
1 | Briefly describe QC checks performed on the Selectron and Ximatron.
2 | Interlocks:
(a) | What interlocks are in the therapy room?
(b) | How would you go about checking each of these?
3 | How would you go about commissioning a CT scanner for a planning system?
4 | How do you calculate electron density from CT numbers?
Radiation Protection |  | Equipment
Dosimetry
| Legislation | Treatment Planning
1 | What do IRR and IRMER cover? | Brachytherapy
2 | Have you read IRR and IRMER? Were they easy to read? | QA
3 | What are the five roles defined in IRMER legislation? | Radiation Protection
4 | Describe what each role entails | Front Page
5 | Where does the medical physicist fit in?
6 | Define equivalent and effective dose. What are their units?
7 | What are the tissue weighting factors for some commonly considered organs?
8 | Which publication advises these?
9 | What are the dose limits for whole body, individual organs & lens of the eye for three categories of person.
10 | What are the limits relating to pregnancy?
11 | What is the policy regarding the treatment with radiotherapy of pregnant women?
12 | What is the policy regarding the irradiation of an undeclared pregnancy?
13 | Risk Assessments:
(a) | What is a risk assessment?
(b) | Why are risk assessments carried out?
(c) | What should it address wrt a RT department?
(d) | Does any other legislation require this?
14 | What are the main three principles of radiation protection?
Radionuclides
1 | How does ARSAC deal with the administration of radionuclides for therapy?
2 | Describe good practice when handling unsealed sources.
3 | What are the particular problems associated with the use of I-131?
4 | How can these be dealt with?
5 | On which factors do the discharge of a I-131 therapy patient rest?
6 | What would you do if an 131I ablation dose capsule was lost?
7 | What are the limits on the activity-energy product in MBqMeV for travel by ‘private transport’, ‘return to radiosensitive work’ etc.?
8 | Why is Y-90 a special case?
Room protection
1 | Describe the room layout of a Linac treatment room.
2 | What types of radiation must be considered?
3 | What are the requirements for wall thickness (HVL) for primary radiation etc.?
4 | What must be considered when carrying out a radiation survey of the room design?
5 | How would you perform a dose rate survey of a linac bunker?
6 | Where does the 7.5microSv/h come from in controlled areas?
7 | If you were making measurements in the maze corridor would you use a GM tube?
8 | What would be the expected doses/dose rates measured?

## Ultrasound
Ultrasound
1 | Name some of the interactions that ultrasound undergoes as it propagates. | Front Page
2 | Tell me more about reflection.
3 | What is acoustic impedance?
4 | What is it about acoustic impedance that causes reflection?
5 | Does a big difference in acoustic impedance mean a strong or weak reflection?
6 | Where would you see big difference in the body?
7 | Modern linear array transducers have many elements. Roughly how many?
8 | You might expect that each element would correspond to a single line of ultrasound, but that's not the case. How do they work?
9 | Why do they work like that?
10 | Draw a picture illustrating focussing. Which of the pulses are delayed?
11 | What's the thin layer just above the bottom wall [of the carotid artery]?
12 | What is this a picture of?
13 | Where in the image are there strong reflectors?
14 | What is the dark line [here, extending below lateral edge of skull]? | Front Page
15 | What measurements are made in obstetrics?
16 | Could you show me on the image where the measurement of biparietal diameter is made?
17 | What type of [image] is this? [Colour Doppler, with spectral Doppler trace below]
18 | What type of blood vessel is it? [distinctly pulsatile, therefore artery]
19 | Why does colour Doppler have poorer spatial resolution than B-mode?
20 | What type of vessel is this one? [almost no pulsatility, therefore vein although it did occur to me afterwards that I'd seen an arterial waveform that looked just like that in a rather poorly patient]
21 | Are you a defender of the Cardiff test object?!
22 | What type of test object is needed to assess modern scanners?
23 | Do you know of any that are commercially available?
24 | How could you measure beam hardening directly?
25 | What's this?
26 | Where's the active element?
27 | What size is it?
28 | Why would you use something that big when the active part is so small?
29 | Have you used any other types of hydrophone? | Front Page
30 | What's the difference between them?
31 | Have you ever seen an image like this? What has caused it?
33 | If you had two scanners and the echoes died away at different depths, what is it telling you about?
34 | Is it a useful test?
35 | What about using the test over time on the same scanner?
36 | Do you know how ultrasound in medicine started?
37 | What does the resolution of ultrasound images depend on?
38 | Would you use a high frequency to scan an abdomen?
39 | What does a cyst look like, and why?
40 | What are the safety concerns with ultrasound generally? And with Doppler in particular?
41 | Explain what you mean by non-linear propagation effects?
42 | Why do you not see these effects close to the transducer?
43 | TI measurement: What steps did you take to minimise reflections/reverberations in the beam?
44 | Explain aperture construction
45 | Effective radiating area measurement: Explain the apertures method | Front Page
46 | Why did you conclude it to be better that linear hydrophone scanning?
47 | QA calliper measurements: Where did you place the cursors? Why?
48 | Did you examine the distribution of measurements to establish operator uncertainty?
49 | Do you think this is a reasonable tolerance?

## Moderators Questions
Moderators Questions
1 | Your centre has created a novel treatment plan that the suppliers of the planning system really like and would like to take to show other centres. Is it ok to share this information? What would you need to ensure/what legislation is important in this situation?
2 | What would you need if you were setting up a generic new facility? | Front Page
3 | What is a quality system and how can you check that it’s working? (audit)
4 | What acquaintanceships did you do? What did you observe in the attachments?
5 | If you are undertaking research what needs to be taken into consideration?
6 | How would you go about writing a risk assessment for one particular risk you have seen, or else in general?
7 | What legislation is in place regarding health and safety at work?
8 | What legislation is in place regarding electrical safety?
9 | What legislation is in place regarding using hazardous substances?
10 | What do you understand by Clinical Governance?
11 | What would you have liked to have discussed in your portfolio if we had had more time? (What was your favourite bit)